Safety Inspection Checklist

WORKSHOP

| Company: | Assessors: |
| --- | --- |
| Location: | Date: |

This checklist is provided by NCSG as a template, which provides a basic framework for the conduct of a safety Inspection of the type of environment indicated.  It will normally require to be amended and/or expanded to address fully the specific requirements of the area inspected and therefore should not be regarded as exhaustive.

| A. ADMINISTRATIVE PROCEDURES | YES | NO | Comment or N/A |
| --- | --- | --- | --- |
| Have Rules and Risk Assessments for Safe workshop practices been formulated? |  |  |  |
| Has the attention of all workshop users been drawn to these rules and are copies available in the workshop? |  |  |  |
| Is there a system in place to ensure that potential users receive full and adequate instruction and training in the safe operation of the equipment they propose to use? |  |  |  |
| Is there a system in place to ensure that the level of supervision applied is commensurate with the skill and experience levels of individual workshop users? |  |  |  |
| Are all users fully acquainted with the operation of any Permit-to-Work Systems within the workshop area? |  |  |  |
| Are written records kept to document the training of users of workshop equipment? |  |  |  |
| Are procedures for the reporting of accidents, incidents and dangerous occurrences well established? |  |  |  |
| What was the date of last formal inspection of the workshop? |  |  |  |

| B. GENERAL HEALTH & SAFETY PRECAUTIONS | YES | NO | Comment or N/A |
| --- | --- | --- | --- |
| Are suitable and sufficient Risk Assessments carried out and appropriate controls implemented? |  |  |  |
| Are fire escape routes from the workshop clear of obstruction and suitably signposted? |  |  |  |
| Is the fire alarm easily audible above machinery noise? |  |  |  |
| If not, have visual warning systems been installed? |  |  |  |
| Have suitable items of fire fighting equipment been provided? |  |  |  |
| Are notices displayed indicating actions to be taken in the event of a fire (Fire Action Notices)? |  |  |  |
| Are workshop users acquainted with the Fire Evacuation Procedure for the workshop area or building? |  |  |  |
| Have Fire Wardens been appointed covering the workshop area? |  |  |  |
| Are notices displayed detailing the nearest available qualified First Aiders and the location of the First Aid Box(s)? |  |  |  |
| Are First Aid Box(s) checked regularly to ensure that they are kept well stocked with contents in good condition? |  |  |  |
| Is there a suitable eye wash station installed? (Where running water is available this should be the type plumbed to the water supply). |  |  |  |
| Are workshop users able to readily contact the Emergency Services should this be required? |  |  |  |
| Are suitable Warning, Mandatory and Prohibition signs displayed with the workshop area as required? (eg, warning: noise hazard; mandatory: eye protection must be worn, etc). |  |  |  |
| Do these signs comply with the Health and Safety (Signs and Signals) Regulations 1996, i.e. are they of a pictogram style and hazard: black on yellow; mandatory: white on blue; prohibitive: white on red? |  |  |  |
| Is there a policy regarding “lone working” in the workshops? |  |  |  |

| C. CLEANLINESS AND HOUSEKEEPING | YES | NO | Comment or N/A |
| --- | --- | --- | --- |
| Are all items of workshop equipment suitably placed to avoid overcrowding and anchored to ensure stability? |  |  |  |
| Are the working areas and gangways clean and clear of obstruction and/or slipping hazards? |  |  |  |
| Are requisite items of general personal protective clothing and equipment supplied to users? |  |  |  |
| Are rules on personal clothing, jewellery, etc strictly enforced? |  |  |  |
| Are smoking, eating and drinking prohibited in the workshop area? |  |  |  |
| Are washing facilities and materials adequate? |  |  |  |
| Are suitable absorbent materials or spill kits available to deal with spillages? |  |  |  |

| D. LIGHTING AND VENTILATION | YES | NO | Comment or N/A |
| --- | --- | --- | --- |
| Is the general level of illumination of the workshop adequate for the work to be carried out? |  |  |  |
| Is suitable supplementary local lighting employed, where required? |  |  |  |
| Are ambient temperatures in the workshop suitable for the work to be carried out? (Example 21 degrees C)? |  |  |  |
| Is the general ventilation of the workshop satisfactory? |  |  |  |

| E. Machinery | YES | NO | Comment or N/A |
| --- | --- | --- | --- |
| Do all workshop plant and machinery have a risk assessment and inspection records? |  |  |  |
| Have the operatives been instructed and trained on its safe operation? |  |  |  |
| Are guards, workbenches and rests available for the machine and do they function properly? |  |  |  |
| Are emergency stops accessible and easily operated? |  |  |  |
| Is there a system of maintenance and instruction for changing blades, drill bits etc? Is there a breakdown/ repair contractor available? |  |  |  |

| F. NOISE | YES | NO | Comment or N/A |
| --- | --- | --- | --- |
| Do workshop operations produce an excessive or uncomfortable noise level? (Guide: it is necessary to raise your voice substantially to speak ) |  |  |  |
| If so, has noise monitoring been requested and carried out? |  |  |  |
| Where required, have suitable forms of engineering control been implemented, to control the noise at source? |  |  |  |
| Are mandatory ear protection zones designated where applicable i.e. where daily noise exposure exceeds 85dB(A)? |  |  |  |
| Is there a positive purchasing policy in place where only machines with low noise emission levels are purchased? |  |  |  |

| G. HAZARDOUS SUBSTANCES | YES | NO | Comment or N/A |
| --- | --- | --- | --- |
| Are there any substances which may present a hazard to health in use within the workshop area? |  |  |  |
| If so, have suitable COSHH Assessments been carried out, documented and records kept? |  |  |  |
| Are staff aware of the conclusions and recommendations for safe working, with these substances, resulting from the COSHH Assessments? |  |  |  |
| Is suitable Local Exhaust Ventilation (LEV) employed to remove hazardous fumes, oil mists, vapours, gases or dusts and are these items subject to regular maintenance and performance checks i.e. at least every 14 calendar months? |  |  |  |
| Is appropriate personal protective equipment available, specifically matched to the hazard against which it is to protect and are these items subject to regular checks to ensure they remain in good condition? |  |  |  |
| Are any specific First Aid actions that may be required following contamination with specific hazardous substances recorded and available to users? |  |  |  |
| Are suitable means of dealing with spillages of any hazardous substances available? |  |  |  |
| Is there a system for the disposal of potentially hazardous wastes which is in line with both the company waste management policies and the Environmental Protection Act? |  |  |  |
| Are “waste transfer notes” available for the removal of skips and has the waste carrier produced an in date “waste carriers licence”? |  |  |  |

| H. ELECTRICAL EQUIPMENT | YES | NO | Comment or N/A |
| --- | --- | --- | --- |
| Are all items of portable electrical equipment subject to a suitable regime of appliance testing and maintenance, including the keeping of records and tagging? |  |  |  |
| Are items of hard wired equipment likewise subject to regular maintenance checks and is suitable remedial action applied, where required? |  |  |  |
| Is the electrical installation forming part of the fabric of the workshop accommodation satisfactory for the requirement of the work and is a BS 7671 test certificate available? |  |  |  |
| Where a Risk Assessment indicates a requirement for residual current protection (eg. 240v connection, wet areas, etc) has a suitable RCD been fitted to the room electrical supply or socket? |  |  |  |

| I. LIFTING OPERATIONS | YES | NO | Comment or N/A |
| --- | --- | --- | --- |
| Are heavy lifting operations carried out within the workshop area? |  |  |  |
| If so, are all forklifts, gantries, overhead cranes identified? |  |  |  |
| Is the Safe Working Load (SWL) clearly marked on each piece of lifting equipment? |  |  |  |
| Are thorough examination and weekly / daily inspection records available? |  |  |  |
| Has traffic management / pedestrian segregation been planned, clearly marked / signed and risk assessed. |  |  |  |
| Where required have individual users been formally trained in lifting and handling techniques, e.g. Fork lift training, slinging, heavy manual handling and have individual training records been kept? |  |  |  |
| Where a task involves a foreseeable risk of injury, has a formal manual handling risk assessment been carried out and documented and have the results of the assessment been communicated to relevant workers? |  |  |  |

| J. PRESSURE SYSTEMS | YES | NO | Comment or N/A |
| --- | --- | --- | --- |
| Have all items of pressurised equipment been identified to and risk assessed? |  |  |  |
| Is the Safe Working Pressure (SWP) clearly marked on each item of equipment? |  |  |  |
| Are all interlocks and other safety devices on pressure vessels fully functional and adequately maintained? |  |  |  |
| Is the pressure system part of a thorough examination scheme set up by an external engineer? |  |  |  |

| K. OCCUPATIONAL HEALTH | YES | NO | Comment or N/A |
| --- | --- | --- | --- |
| Where the potential exposure to a substance or material hazardous to health cannot be fully controlled by either engineering control of personal protection has health surveillance been implemented? |  |  |  |
| Are suitable barrier creams available to aid in skin protection and are checks carried out to ensure that workshop users are not developing dermatitis problems? |  |  |  |
| Do any workshop activities involve vibration to the extent that vibration related conditions, eg. Vibration white finger might be potential problem? If so has a risk assessment been drawn up and communicated to exposed staff? |  |  |  |
| Is there a positive purchasing policy in place whereby only machine tools with anti-vibration/suppression filters are purchased? |  |  |  |

| L. Asbestos | YES | NO | Comment or N/A |
| --- | --- | --- | --- |
| If the building was constructed before the year 2000 has an asbestos survey and report been drawn up, and has an asbestos management plan been developed? |  |  |  |
| Is the asbestos survey available for visiting tradesman and staff? |  |  |  |

| M. Work at Height | YES | NO | Comment or N/A |
| --- | --- | --- | --- |
| Have all work at height activities been identified such as use of ladders, aluminium towers, MEWPS and roof work. |  |  |  |
| Are risk assessments available for the work at height issues identified? |  |  |  |
| Have staff received training and instruction on the work at height issues and are training certificates available? |  |  |  |
| Is there an inspection scheme in place which is managed by a competent person? (e.g. ladders 6 monthly, harness 6 monthly, scaffold prior to use and weekly). |  |  |  |

Additional Comments

If you would like to add any additional comments or develop an action list please stipulate below. Action lists should include what action is required, by whom and by when.